## Lighting
04.15.2024
| Lighting New Product Submittal Form |  |  | Directions: Please fill out all fields for each product so that it can be uploaded to the Approved Product list. | [6 empty] | Manufacturer to contact if there are questions regarding the product
Line Item | Lamp Type | Lamp Shape (PAR20, MR16, A19, etc.) | Manufacturer | Energy Star or DLC Number | Catalog Number (This is the number you will enter in the Tool) | Part Number | Lamp Wattage | Lumens | CRI | Efficacy (lumens/watts) | Manufacturer Rep | Manufacturer Rep Phone | Manufacturer Rep Email
1 | [13 empty] | 2-ft. LED Tube
2 | [13 empty] | 3-ft. LED Tube
3 | [13 empty] | 4-ft. LED Tube
4 | [13 empty] | 8-ft. LED Tube
5 | [13 empty] | LED U-Bend
6 | [13 empty] | 1x4 LED Flat Panel (1500-3000 lm)
7 | [13 empty] | 1x4 LED Flat Panel (3001-4500 lm)
8 | [13 empty] | 1x4 LED Flat Panel (4501-6000 lm)
9 | [13 empty] | 2x2 LED Flat Panel (2000-3000 lm)
10 | [13 empty] | 2x2 LED Flat Panel (GT 3001 lm)
11 | [13 empty] | 2x4 LED Flat Panel (3000-4500 lm)
12 | [13 empty] | 2x4 LED Flat Panel (4501-6000 lm)
13 | [13 empty] | 2x4 LED Flat Panel (GT 6001)
14 | [13 empty] | 1x4 LED Troffer (1500-3000 lm)
15 | [13 empty] | 1x4 LED Troffer (3001-4500 lm)
16 | [13 empty] | 1x4 LED Troffer (4501-6000 lm)
17 | [13 empty] | 2x2 LED Troffer (2000-3000 lm)
18 | [13 empty] | 2x2 LED Troffer (GT 3001 lm)
19 | [13 empty] | 2x4 LED Troffer (3000-4500 lm)
20 | [13 empty] | 2x4 LED Troffer (4501-6000 lm)
21 | [13 empty] | 2x4 LED Troffer (GT 6001)
22 | [13 empty] | Daylight Sensor
23 | [13 empty] | Exit Sign
24 | [13 empty] | LED Pin LED
25 | [13 empty] | LED PAR
26 | [13 empty] | LED MR16
27 | [13 empty] | LED A-Series
28 | [13 empty] | LED Candelabra & Globe
29 | [13 empty] | LED BR-Series
30 | [13 empty] | LED Lamp with Wifi Controls
31 | [13 empty] | LED Trim Kit
32 | [13 empty] | LED Omni Directional
33 | [13 empty] | HID Replacement (Mogul Base)
34 | [13 empty] | High Bay Fixture
35 | [13 empty] | Canopy Light
36 | [13 empty] | Pole Light
37 | [13 empty] | Wallpack
38
39
40
41
42
43
44
45
46
47
48
49
50
Send this File to: | businessinstantdiscount@cmsenergy.com
In the subject line: | BIDP New Product Submission

## Lighting Qualifications
Daylight sensors | Cannot be combined with occupancy sensors
The stepped controller generally dims the artificial lighting 50 percent when the interior illumination levels reach 50 percent of the desired lighting levels
Magnetic ballasts are ineligible for this incentive
The on/off controller should turn off artificial lighting when the interior illumination meets the desired indoor lighting level
The controls can be on/off, stepped, or continuous (dimming)
Exit Signs | High-efficiency exit sign must replace or retrofit an existing incandescent exit sign Electroluminescent, T1, and LED exit signs Non-electrified and remote exit signs are not eligible Must be UL or ETL listed Minimum warranty of 5 years Must be ≤ 2.5W for one sided and ≤ 5W for two sided If emergency lights are included, the corresponding model without emergency lights must meet 2.5W/face or up to 5W/sign
LED Tubes: 2ft, 3ft, 4ft (u-bend), 8ft | DLC Listed. A non DLC/ES form must be submitted if not DLC/ES listed
Pin Based | DLC Listed. A non DLC/ES form must be submitted if not DLC/ES listed
LED PAR | Must be Energy Star or DLC rated. A non DLC/ES form must be submitted if not DLC/ES listed. Edison "Screw-In" bulbs no longer qualify. Pin-style bulbs that meet energy efficiency requirements qualify.
LED MR16 | Must be Energy Star or DLC rated. A non DLC/ES form must be submitted if not DLC/ES listed. Edison "Screw-In" bulbs no longer qualify. Pin-style bulbs that meet energy efficiency requirements qualify.
LED A-Series | Must be Energy Star or DLC rated. A non DLC/ES form must be submitted if not DLC/ES listed. Edison "Screw-In" bulbs no longer qualify. Pin-style bulbs that meet energy efficiency requirements qualify.
LED Candelabra and Globe | Must be Energy Star or DLC rated. A non DLC/ES form must be submitted if not DLC/ES listed. Edison "Screw-In" bulbs no longer qualify. Pin-style bulbs that meet energy efficiency requirements qualify.
LED BR-Series | Must be Energy Star or DLC rated. A non DLC/ES form must be submitted if not DLC/ES listed. Edison "Screw-In" bulbs no longer qualify. Pin-style bulbs that meet energy efficiency requirements qualify.
LED Lamp with Wifi Controls | Must be Energy Star or DLC rated. A non DLC/ES form must be submitted if not DLC/ES listed
LED Trim Kit | This measure is available for replacing existing incandescent downlight fixtures with new hardwired LED trim kits or new LED downlight fixtures in interior applications. Incentive is per qualified fixture replaced with a qualified LED trim kit or downlight fixture. A downlight fixture is defined as a recessed, surface mounted, or suspended direct-lighting unit that distributes 90% to 100% of the emitted light in a downward direction (see ANSI/IES RP-16-17). LED trim kits that receive power through an Edison (screw-in) base are not eligible for this measure. • Pin-based LED products are not eligible for this measure. The new LED trim kit or downlight fixture must be approved by ENERGY STAR® under a Fixture Type that includes the word "Downlight" or meet the following requirements: » Non-Listed LED lighting requirements indicated under Lighting - General Requirements » Meet the definition of a qualified LED trim kit or downlight fixture as specified above. » Efficacy ≥ 60 lumens/watt. » CR I ≥ 80. » CCT ≤ 5,000 kelvin.
LED Omni Directional | Must be Energy Star or DLC rated. A non DLC/ES form must be submitted if not DLC/ES listed. Edison "Screw-In" bulbs no longer qualify. Pin-style bulbs that meet energy efficiency requirements qualify.
Wallpacks, Pole Light, Canopy <50w | DLC Listed. A non DLC/ES form must be submitted if not DLC/ES listed
Wallpacks, Pole Light, Canopy 50w-99w | DLC Listed. A non DLC/ES form must be submitted if not DLC/ES listed
Wallpacks, Pole Light, Canopy 100w-225w | DLC Listed. A non DLC/ES form must be submitted if not DLC/ES listed
Wallpacks, Pole Light, Canopy >226w | DLC Listed. A non DLC/ES form must be submitted if not DLC/ES listed
LED Flat Panels/Troffers | DLC Listed. A non DLC/ES form must be submitted if not DLC/ES listed
LED High Bays | LED Lighting fixtures installed 15 feet or higher above the floor are considered "high bay". These measures are available for replacing or retrofitting existing incandescent, mercury vapor, T5/T8/T12 fluorescent, and high-intensity discharge (HID) lighting fixtures in interior applications with permanently wired LED lamp retrofits or completely new LED lighting fixtures. New LED lighting product must be listed by the DesignLights Consortium® (DLC®) or meet the following requirements: • Non-Listed LED lighting requirements indicated under Lighting - General Requirements. • Efficacy ≥ 120 lumens/watt. • CR I ≥ 70. • CCT ≤ 6,500 kelvin.
HID Replacement | DLC Listed. A non DLC/ES form must be submitted if not DLC/ES listed. This measure is available for replacing existing mogul base high-intensity discharge (HID) lamps with screw-in mogul base LED lamps. The new LED lamp must: • Receive power through existing mogul base. • Be permanently wired around the existing ballast (i.e., NOT “plug and play”).

## Food Service
04.15.2024
| Food Service New Product Submittal Form |  | Directions: Please fill out all fields for each product so that it can be uploaded to the Approved Product list. |  | Manufacturer to contact if there are questions regarding the product
Line Item | Measure | Manufacturer | Model Number (This is the number you will enter into the Tool) | Part Number | Manufacturer Rep | Manufacturer Rep Phone | Manufacturer Rep Email
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
Send this File to: | businessinstantdiscount@cmsenergy.com
In the subject line: | BIDP New Product Submission

## Food Service Qualifications
Electric DB Measure | Electric Measure Specification
ENERGY STAR® Commercial Solid Door Refrigerators ( < 15 cu ft) | Incentives are available for replacement units that are ENERGY STAR® listed. Cases with remote refrigeration systems are not eligible. Incentive is per refrigerator.
ENERGY STAR® Commercial Solid Door Refrigerators ( 15 - 30 cu ft)
ENERGY STAR® Commercial Solid Door Refrigerators ( 30 - 50 cu ft)
ENERGY STAR® Commercial Solid Door Refrigerators ( > 50 cu ft)
ENERGY STAR® Commercial Solid Door Freezers ( < 15 cu ft) | Incentives are available for replacement units that are ENERGY STAR® listed. Cases with remote refrigeration systems are not eligible. Incentive is per freezer.
ENERGY STAR® Commercial Solid Door Freezers ( 15 - 30 cu ft)
ENERGY STAR® Commercial Solid Door Freezers ( 30 - 50 cu ft)
ENERGY STAR® Commercial Solid Door Freezers ( > 50 cu ft)
Steam Cookers (3 Pan, Electric) | Incentives are available for replacement electric steamers that are ENERGY STAR® listed with a Cooking Energy Efficiency of 50% for all size units. Used or rebuilt equipment is not eligible. Incentive is per cooker.
Steam Cookers (4 Pan, Electric)
Steam Cookers (5 Pan, Electric)
Steam Cookers (6 Pan, Electric)
ENERGY STAR® Hot Holding Cabinets (Half Size) | Incentives are available for replacement units that are ENERGY STAR® listed and consume < 40 watts per cubic foot. Half size units are <10 cubic feet, three quarter size units are 10-15 cubic feet and full size units are >15 cubic feet. Cook-and-hold equipment is not eligible. Used or rebuilt equipment is not eligible. Incentive is per cabinet
ENERGY STAR® Hot Holding Cabinets (Three Quarter Size)
ENERGY STAR® Hot Holding Cabinets (Full Size)
Energy Efficient Ice Machines (< 500 lbs) | Incentives are available for ice machines that generate crushed, fragmented or cubed ice of 60 grams (2 oz.) or lighter. Only air-cooled machines (self-contained, ice-making heads or remote condensing) are eligible. Flake and nugget machines are not eligible. The machine must have a minimum capacity of 101 lbs of ice per 24-hour period. The minimum efficiency required is per ENERGY STAR®. Incentive is per ice machine.
Energy Efficient Ice Machines (500 to 1000 lbs)
Energy Efficient Ice Machines (1001 to 1500 lbs)
Pre-Rinse Sprayers (electric water heat) | Incentives are available for low-flow, high-efficiency pre-rinse sprayers using less than or equal to 1.6 gallons per minute (gpm). Water heating must be with an electrical appliance. Incentive is per sprayer
ENERGY STAR Commercial Glass Door Refrigerators less than 15 cu. ft. | Incentives are available for replacement units that are ENERGY STAR® listed. Cases with remote refrigeration systems are not eligible. Incentive is per refrigerator.
ENERGY STAR Commercial Glass Door Refrigerators 15 to 30 cu. ft.
ENERGY STAR Commercial Glass Door Refrigerators 31 to 50 cu. ft.
ENERGY STAR Commercial Glass Door Refrigerators more than 50 cu. ft
ENERGY STAR Commercial Glass Door Freezers less than 15 cu. ft. | Incentives are available for replacement units that are ENERGY STAR® listed. Cases with remote refrigeration systems are not eligible. Incentive is per freezer.
ENERGY STAR Commercial Glass Door Freezers 15 to 30 cu. ft.
ENERGY STAR Commercial Glass Door Freezers 31 to 50 cu. ft.
ENERGY STAR Commercial Glass Door Freezers more than 50 cu.ft.
ENERGY STAR Fryers | Incentives are available for replacement electric units that are ENERGY STAR® listed with a heavy load Cooking Energy Efficiency of at least 83%. Used or rebuilt equipment is not eligible. Incentive is per fryer.
ENERGY STAR Griddles | Incentives are available for replacement electric units that are ENERGYSTAR® listed. Griddles must have a Cooking Energy Efficiency of at least 70%. Used or rebuilt equipment is not eligible. Incentive is per griddle.
ENERGY STAR Convection Ovens Electric | Incentives are available for replacement electric units that are ENERGYSTAR® listed. Ovens must have a heavy load Cooking Energy Efficiency of at least 74%. Used or rebuilt equipment is not eligible. Incentive is per oven.
Combination Ovens Electric | Incentives are available for replacement electric units that have a Cooking Energy Efficiency of at least 64%. Used or rebuilt equipment is not eligible. Incentive is per oven.
Gas DB Measure | Gas Measure Specification
ENERGY STAR® Steam Cookers (5 Pan, Gas) | Incentives are available for replacement gas steamers that are ENERGY STAR® listed. Five and six pan units must have working efficiency of 38%. Used or rebuilt equipment is not eligible. Incentive is per cooker.
ENERGY STAR® Steam Cookers (6 Pan, Gas)
ENERGY STAR Convection Ovens Gas | Incentives are available for replacement gas units that are ENERGY STAR® listed. Ovens must have a heavy load Cooking Energy Efficiency of at least 49%. Used or rebuilt equipment is not eligible. Incentive is per oven.
Combination Ovens Gas | Incentives are available for replacement gas units that have a Cooking Energy Efficiency of at least 49%. Used or rebuilt equipment is not eligible. Incentive is per oven.
Rack Oven Single | Incentives are available for replacement gas units that have a heavy load Cooking Energy Efficiency of at least 50% for both single and double rack ovens. Used or rebuilt equipment is not eligible. Incentive is per oven.
Rack Oven Double
ENERGY STAR® Fryer | Incentives are available for replacement gas units that are ENERGY STAR® listed with a heavy load Cooking Energy Efficiency of at least 50%. Used or rebuilt equipment is not eligible. Incentive is per fryer.
Large Vat Fryer | Incentives are available for replacement gas units that have a heavy load Cooking Energy Efficiency of at least 50%. Used or rebuilt equipment is not eligible. Multi-vat units are considered one fryer. Incentive is per fryer.
ENERGY STAR® Griddles | Incentives are available for replacement gas units that are ENERGY STAR® listed. Griddles must have a Cooking Energy Efficiency of at least 38%. Used or rebuilt equipment is not eligible. Incentive is per griddle.
Pre-Rinse Sprayers (gas water heat) | Incentives are available for low-flow, high-efficiency pre-rinse sprayers using less than or equal to 1.6 gallons per minute (gpm). Water heating must be with a natural gas appliance. Incentive is per sprayer.
Energy Star Dishwasher-Commercial | Incentives are available for high efficiency dishwashers that replace non-high efficiency dishwashers that use a gas water heater. Dishwasher types include: stationary single tank door, single tank conveyor and multiple tank conveyor. Dishwashers can have either electric, gas or no booster. Qualified dishwashers must meet ENERGY STAR requirements. Incentive is per washer.
Energy Star Dishwasher-Under Counter | Incentives are available for high efficiency dishwashers that replace non-high efficiency dishwashers that use a gas water heater. Dishwashers must be an under counter style. Dishwashers can have either electric, gas or no booster. Qualified dishwashers must meet ENERGY STAR requirements. Incentive is per washer.
Commercial Conveyor Oven, less than or equal to 25 in total conveyor width | Incentives are available for replacement gas units that have a Cooking Energy Efficiency of at least 42% and have an idle rate of ≤ 29,000 Btu/h. Used or rebuilt equipment is not eligible.
Commercial Conveyor Oven, large, greater than 25 in total conveyor width | Incentives are available for replacement gas units that have a Cooking Energy Efficiency of at least 42% and have an idle rate of ≤ 57,000 Btu/h. Used or rebuilt equipment is not eligible.
Infrared Charbroiler | Incentives are available for new energy efficient charbroilers with infrared burners. Charbroilers must operate at least 3 hours per day. Used or rebuilt equipment is not eligible. Incentive is per unit.
Infrared Rotisserie Oven | Incentives are available for new energy efficient infrared rotisserie ovens with ceramic infrared burners. Infrared rotisserie ovens installed must operate at least 3 hours per day. Used or rebuilt equipment is not eligible. Incentive is per unit.
Infrared Salamander Broiler | Incentives are available for new natural gas salamander broilers using ceramic infrared burners. Infrared salamander broilers should operate more than 3 hours per day. Installations with lower operating time are ineligible. Used or rebuilt equipment is not eligible. Incentive is per unit.
Infrared Upright Broiler | Incentives are available for new natural gas upright broilers using ceramic infrared burners. Infrared upright broilers should operate more than 3 hours per day. Installations with lower operating times are ineligible. Used or rebuilt equipment is not eligible. Incentive is per unit.
Pasta Cooker | Incentives are available for new energy-efficient pasta cookers with gas fueled burners. Pasta cookers must operate at least 3 hours per day. Used or rebuilt equipment is not eligible. Incentive is per unit.
Send Drawings for Kitchen Ventilation Qualification to businessinstantdiscount@cmsenergy.com
Kitchen Ventilation | Incentives are available to install commercial kitchen ventilation (CKV) hood control systems for commercial end users with gas accounts. The control system must have both thermal and smoke (opacity) sensors. The ventilation controller must reduce the hood flow rate when the cooking equipment is being lightly used. Incentive is per CFM of the exhaust system. Distributor will need to supply drawings with CFM

## HVAC
04.15.2024
|  | HVAC New Product Submittal Form |  |  |  |  | Boilers, Furnaces & Water Heaters |  |  |  | RTUs & PTAC/HP |  |  | Manufacturer to contact if there are questions regarding the product
Line Item | Measure Category | Measure Type *(please select Measure Category dropdown first) | Manufacturer | UPC | Model Number (This is the number you will enter in the Tool) | Part Number | AHRI Efficiency Rating # | Efficiency Type (Energy Factor or Thermal Efficiency) | Input Burner Size (MBH) | Tank Size (Gallons) | EER | IEER | Cooling Capacity (BTUH) | Manufacturer Rep | Manufacturer Rep Phone | Manufacturer Rep Email
1 | [16 empty] | Hydronic Boiler
2 | [16 empty] | Furnace
3 | [16 empty] | RTU
4 | [16 empty] | PTAC
5 | [16 empty] | PTHP
6 | [16 empty] | Water Heater
7 | [16 empty] | Cogged V Belts
8 | [16 empty] | Ductless Air
9
10 | [16 empty] | Tankless
11 | [16 empty] | Tank
12 | [16 empty] | Furnace
13 | [16 empty] | Hydronic Boiler
14 | [16 empty] | RTU
15 | [16 empty] | Air Conditioning
16 | [16 empty] | Heat Pump
17 | [16 empty] | Cogged V Belts
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
Send this File to: | businessinstantdiscount@cmsenergy.com
In the subject line: | BIDP New Product Submission

## Sheet6 (hidden)
Waterheater category | Water Heater Type list | Efficiency
Water Heater | Tankless | EF
Furnace | Tank | TE
RTU | Furnace
PTAC | RTU
PTHP | Air Conditioning
Heat Pump

## HVAC Qualifications
Gas-fired Tankless Water Heaters | At least of .87 UEF
Tankless Water Heaters - Electric | The instantaneous electric water heater must have an UEF of at least 0.95
Gas Tank-Style Domestic Water Heater up to 55 gal, ≤75 MBH | ≤75 MBH, ≥ .64 UEF
Gas Tank-Style Domestic Water Heater up to 55 gal, ≤75 MBH | ≤75 MBH, ≥ .68 UEF
Gas Tank-Style Domestic Water Heater ≥ 55 gal, ≤75 MBH | ≤75 MBH, ≥ .80 UEF
Gas Tank-Style Domestic Water Heater ≤ 140 gal, >75 MBH | >75 MBH, 94% TE
Gas Furnace ≤120 MBH, 92% AFUE | At least 92% AFUE ≤120 MBH
Gas Furnace ≤120 MBH, 95% AFUE | At least 95% AFUE ≤120 MBH
Gas Furnace >120 MBH, 92% AFUE | At least 92% AFUE >120 MBH
Gas Furnace >120 MBH, 95% AFUE | At least 95% AFUE >120 MBH
Hydronic Boilers, | Available only for equipment used for space heating. Boilers purchased for back-up or redundancy are not eligible. Boilers must modulate their firing rate and have a sealed combustion unit. Must submit boiler specifications with steady state boiler input and output ratings. The ratings will be defined per ANSI Standard Z21.13 and use supply and return water temperatures. Note that high efficiency condensing boilers will provide the rated efficiency only if return water is cold enough to condense the flue gases. If the heating system cannot meet the requirement, a non-condensing boiler may be a better choice The efficiency should be given as AFUE for units <300 MBH, thermal efficiency for units ≥300 MBH and ≤2,500 MBH, and combustion efficiency for units >2,500 MBH. 1 MBH = 1,000 Btu/hr
* RTUs AC <65k Single Package Unit SEER 15 - 1 Ph | New unitary air conditioning units or heat pumps that meet or exceed the qualifying cooling efficiency shown in Table below are eligible for an incentive They must be single package units The efficiency of split systems is based on the ARI reference number. Water-cooled systems or evaporative coolers do not qualify for this prescriptive incentive, but may qualify for a custom incentive All packaged and split system cooling equipment must meet Air Conditioning and Refrigeration Institute (ARI) standards (210/240, 320 or 340/360), be UL listed and use a minimum ozone-depleting refrigerant (e.g., HCFC or HFC) Cannot be combined with Ductless Air Conditioning or Heat Pump System measure
* RTUs AC 65k - 135k EER 12 IEER 13.8
* RTUs AC 240k - 760k EER 10.6 IEER 12.1
* RTUs AC 135k - 240k EER 12 IEER 13
* RTUs AC >760k EER 9.7
PTAC | Equipment must be through-the-wall self-contained units that are two tons (24,000 BTU/hr.) or less Eligible systems must meet the following efficiencies: »» <7,000 Btu/hr = 13.1 EER »» 7,000 Btu/hr to 15,000 Btu/hr = 11.8 EER »» >15,000 Btu/hr = 10.5 EER All EER values must be rated at 95 degrees outdoor dry-bulb temperature
PTAC < 7kBtu/hr
PTAC 7kBtu/hr - 15kBtu/hr
PTAC > 15kBtu/hr

## Misc
04.15.2024
| Misc New Product Submittal Form |  |  | Directions: Please fill out all fields for each product so that it can be uploaded to the Approved Product list. Not all fields are required for every product. |  |  | Manufacturer to contact if there are questions regarding the product
Line Item | Measure | Fuel Type | Manufacturer | Catalog Number (This is the number you will enter in the Tool) | Sq Ft (Pool Covers) | Steam Trap Type | Manufacturer Rep | Manufacturer Rep Phone | Manufacturer Rep Email
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
Send this File to: | businessinstantdiscount@cmsenergy.com
In the subject line: | BIDP New Product Submission

## Misc Qualifications
Night Covers | The store must have a minimum of six non-operating hours per day to to qualify
Sash Stops - Gas | For systems with 100% outside air, VAV systems
Pre-Rinse Sprayers - Gas | Sprayer flow up to 1.6 gpm
Steam Traps - Gas | For repair/replacement of malfunctioning units, excluding oriface traps
Clothes Dryer ENERGY STAR - Gas | Must be Energy Star rated
Clothes Dryer ENERGY STAR, Electric | Must be Energy Star rated
Clothes Washer ENERGY STAR, Gas Water heater | Must be Energy Star rated
Clothes Washer ENERGY STAR, Electric Water heater | Must be Energy Star rated
Drinking Water Cooler Misers - Electric | Water cooling miser must be installed on a water cooling machine such as water/drinking fountains Misers must include a passive infrared occupancy sensor to turn off refrigeration systems when the surrounding area is unoccupied for 15 minutes or longer
Snack Vending Machine Misers - Electric | Snack miser occupancy control unit must be installed on a non- refrigerated snack vending machine; non-cooled vending machines (i.e., candy machines) Misers must include a passive infrared occupancy sensor to turn off the machines lighting systems and any other vending machine electrical systems when the surrounding area is unoccupied for 15 minutes or longer
Pool Cover - Manual - Gas | Must be 400 - 10,000 sqft Equipment must be new This incentive is available for Consumers Energy natural gas customers only Liquid pool covers do not qualify for this incentive
Pool Cover - Automatic - Gas | Must be 400 - 10,000 sqft Equipment must be new This incentive is available for Consumers Energy natural gas customers only Liquid pool covers do not qualify for this incentive Automatic pool covers (and retractable pool covers) must be motorized (both on & off) to qualify for the higher incentive
High Efficiency Unit Heater (At least 92% efficient) | Condensing unit heaters must be 92% AFUE (Annual Fuel Utilization Efficiency) or greater and have a sealed combustion unit. • Direct-fired air handling units are not eligible for the incentive. • Available only for equipment used in space heating conditions. • Equipment purchased for back-up or redundancy is not eligible.
High Efficiency Unit Heater (At least 95% efficient) | Condensing unit heaters must be 92% AFUE (Annual Fuel Utilization Efficiency) or greater and have a sealed combustion unit. • Direct-fired air handling units are not eligible for the incentive. • Available only for equipment used in space heating conditions. • Equipment purchased for back-up or redundancy is not eligible.
Engine Block Heater Controls | • Timer must be outdoor rated or cold weather resistant. • Timer should be set to turn on heater no more than 2 hours prior to engine start-up time. • Timer should contain a thermostat that turns off the heater if ambient air temperature is warmer than a preset temperature. • Timer must be used on block heaters for commercial, industrial, or agricultural applications.
Low-Energy Livestock Waterer | • Equipment must be replacing waterer with heating elements. • New waterer must have a minimum 2-inch insulation and maximum combined heating element wattage of 250 watts. • New Zero-Energy waterer must serve same herd size as existing waterer being replaced and contain no heating elements.
Ag Circulation, Exhaust, or Vent Fans (24" to 35" Fan blade diam) | Exhaust Minimum Efficiency: 14.0 CFM/Watt @ 0.10 Circulation Minimum Efficiency: 12.5 lbf/kW
Ag Circulation, Exhaust, or Vent Fans (36" to 47" Fan blade diam) | Exhaust Minimum Efficiency: 17.1 CFM/Watt @ 0.10 Circulation Minimum Efficiency: 18.2 lbf/kW
Ag Circulation, Exhaust, or Vent Fans (48" to 71" Fan blade diam) | Exhaust Minimum Efficiency: 20.3 CFM/Watt @ 0.10 Circulation Minimum Efficiency: 23.0 lbf/kW
High-Efficiency Electric Hand Dryers | This measure is available for installing high-efficiency electric hand dryers. • To be eligible for this measure, the new electric hand dryers must have an electric demand rating less than or equal to 1,500 Watts and a cycle time of 15 seconds or less. • Replacement of existing high-efficiency hand dryers is not eligible for this measure. • This measure is only available for facilities that do not use paper towel dispensers or other non-electric hand drying methods available in the affected restrooms. • Incentive is per new high-efficiency hand dryer installed.

## Misc dropown (hidden)
Measure | Fuel Type
Programmable Thermostats - Gas Customers | Gas
Web-Enabled Thermostats - Gas Customers | Electric
Programmable Thermostats - Electric Customers | Both
Web-Enabled Thermostats - Electric Customers
Night Covers
Sash Stops - Gas
Pre-Rinse Sprayers - Gas
Steam Traps - Gas
Clothes Dryer ENERGY STAR - Gas
Clothes Dryer ENERGY STAR, Electric
Clothes Washer ENERGY STAR, Gas Water heater
Clothes Washer ENERGY STAR, Electric Water heater
Drinking Water Cooler Misers - Electric
Snack Vending Machine Misers - Electric
Pool Cover - Manual - Gas
Pool Cover - Automatic - Gas
High Efficiency Unit Heater (At least 92% efficient)
High Efficiency Unit Heater (At least 95% efficient)
Engine Block Heater Controls
Low-Energy Livestock Waterer
Ag Fans (24" to 35" Fan blade diam)
Ag Fans (36" to 47" Fan blade diam)
Ag Fans (48" to 71" Fan blade diam)

## FS Dropdown (hidden)
Electric DB Measure
Solid Door Refrigerators (Electric Only)
Glass Door Refrigerators (Electric Only)
Solid Door Freezers (Electric only)
Glass Door Freezers (Electric Only)
Steam Cookers (Electric)
Steam Cookers (Gas)
Hot Holding Cabinets (Electric only)
Energy Efficient Ice Machines (Electric Only)
Pre-Rinse Sprayers (electric water heat)
Pre-Rinse Sprayers (Gas water heat)
Standard Fryers (Electric)
Standard Fryers (Gas)
Large Vat Fryer (Gas Only)
Griddles (Electric)
Griddles (Gas)
Convection Ovens (Electric)
Convection Ovens (Gas)
Combination Ovens (Electric)
Combination Ovens (Gas)
Rack Oven (Gas only)
Energy Star Dishwasher (Gas Only)
Commercial Conveyor Oven (Gas Only)
Infrared Charbroiler (Gas Only)
Infrared Rotisserie Oven (Gas Only)
Infrared Salamander Broiler (Gas Only)
Infrared Upright Broiler (Gas Only)
Pasta Cooker (Gas Only)

## L dropdown (hidden)
2-ft. LED Tube
3-ft. LED Tube
4-ft. LED Tube
8-ft. LED Tube
LED U-Bend
Daylight Sensor
LED Pin-based
LED PAR
LED MR16
LED A-Series
LED Candelabra & Globe
LED BR-Series
LED Lamp with Wifi Controls
LED Trim Kit
LED Omni Directional
Exit Sign
Wallpack